## Sequence
UKRIN-MAPS Series Name | Vendors | Series Description Regex
3D ToF | Philips, Siemens
bTRANCE | Philips
Cor_B0map | Philips, GE | B0
T2star_HIGHRES | Philips | T2 star mapping
Cor_T1map | Philips | T1map
Cor_T1map_flipped | Philips | T1map flipped
Cor_T1MOLLI | Philips | MOLLI
Cor_T1_MOLLI | Philips | MOLLI
Cor_B1map_BH | Philips, GE | B1
Cor_DWI_RespTrig_flipped | Philips | DWI flipped
Cor_DWI_RespTrig | Philips, GE | DWI
PC_BH_Left_Renal_Artery_UKRIN | Philips | Phase Contrast Left
PC_BH_Right_Renal_Artery_UKRIN | Philips | Phase Contrast Right
Cor_T1W | Philips | T1W
Cor_T2W | Philips | T2W
Cor_T2_MAPPING | Philips | T2_MAPPING
mDIXON | Philips | mDIXON
2D_MTR | Philips | MTR
Cor_BASE_SE_EPI_RespTrig | Philips | BASE
Cor_FAIR_SE_EPI_1500_RespTrig | Philips | FAIR 1500
Cor_FAIR_SE_EPI_400_RespTrig | Philips | FAIR 400
Cor_FAIR_SE_EPI_750_RespTrig | Philips | FAIR 750
Cor_FAIR_SE_EPI_1000_RespTrig | Philips | FAIR 1000
Cor_pCASL_SE_EPI_1500_RespTrig | Philips | pCASL 1500
Cor_B0map_pCASL_BH | Philips | B0map pCASL
AO_flow_NSA1 | Philips | AO
Cor_pCASL_SE_EPI_500_RespTrig | Philips | pCASL 500
Cor_pCASL_SE_EPI_750_RespTrig | Philips | pCASL 750
Cor_pCASL_SE_EPI_1000_RespTrig | Philips | pCASL 1000
B0 map | Siemens | B0
T2* high res | Siemens | T2 star mapping
ep2d_se_T1map_kidney | Siemens | T1map
ep2d_se_T1map_kidney_Rev | Siemens | T1map flipped
T1 MOLLI high res | Siemens | MOLLI
B1 mapping | Siemens | B1
DWI flipped | Siemens | DWI flipped
DWI | Siemens | DWI
L renal artery | Siemens | Phase Contrast Left
R renal artery | Siemens | Phase Contrast Right
T1W | Siemens | T1W
T2W | Siemens | T2W
T2_mapping | Siemens | T2_MAPPING
DIXON | Siemens | mDIXON
MToff | Siemens | MTRoff
MTon | Siemens | MTRon
FAIR 1500
FAIR 400
FAIR 750
FAIR 1000
pCASL 500ms | Siemens | pCASL 500
pCASL 750ms | Siemens | pCASL 750
pCASL 1000ms | Siemens | pCASL 1000
pCASL 1500ms | Siemens | pCASL 1500
B0pCASL | Siemens | B0map pCASL
Aorta PC-MRI | Siemens | AO
Ax_3D_TOF_BH | GE
Cor_T2star_BH_highres | GE | T2 star mapping
Cor_T1map_MPMS | GE | T1map
Cor_T1map_flipped | GE | T1map flipped
Cor_T1_MOLLI_BH_HighRes | GE | MOLLI
Cor_DWI_RespTrig_b0 | GE | DWI flipped
PC_L_renal_artery_BH | GE | Phase Contrast Left
PC_R_renal_artery_BH | GE | Phase Contrast Right
Cor_T1weighted_BH_BigFOV | GE | T1W
Cor_T2weighted_BH | GE | T2W
Cor_T2map_RespTrig | GE | T2_MAPPING
R2*:Dixon_BH | GE | mDIXON
Cor MT off BH MPS | GE | MTRoff
Cor MT on BH | GE | MTRon
Cor M0 | GE | BASE
Cor FAIR 1500 | GE | FAIR 1500
Cor FAIR 400 | GE | FAIR 400
Cor FAIR 750 | GE | FAIR 750
Cor FAIR 1000 | GE | FAIR 1000
Cor pCASL1500 | GE | pCASL 1500
Cor_B0map_BH_no_reshim | GE | B0map pCASL
PC_aorta | GE | AO
Cor pCASL 500 | GE | pCASL 500
Cor pCASL 750 | GE | pCASL 750
Cor pCASL 1000 | GE | pCASL 1000

## new
Series description matchers | Series description exclusion | Vendors | Software Version | DICOM Tag | Parameter | Operator | Expected Value | Read Value | Notes
T1map,T1map flipped,BASE,FAIR,pCASL,DWI, DWI flipped |  | Philips |  | (0018, 1310) | Acquisition Matrix | == | [0, 128, 126, 0]
T1map,T1map flipped,T2_MAPPING,BASE,FAIR,pCASL,mDIXON,B0 |  | GE,Siemens |  | (0018, 1310) | Acquisition Matrix | == | [0, 128, 128, 0]
T1map,T1map flipped,T2STAR,DWI,BASE,FAIR,pCASL,MTR |  | GE,Philips,Siemens |  | (0018, 0050) | Slice thickness | == | 5 |  |  | Note all pCASL are not 'B0map pCASL'
T1map,T1map flipped,T2_MAPPING,T2STAR,DWI,BASE,FAIR,pCASL,mDIXON |  | GE,Philips,Siemens |  | (0018, 0088) | Spacing between slices | == | 5.5
T1map,T1map flipped,T2_MAPPING,T2STAR,BASE,FAIR,pCASL |  | Siemens, Philips |  | (2001,1018) | Number of slices | == | 5 |  |  | Check Siemens
T1map,T1map flipped,T2_MAPPING,T2STAR,BASE,FAIR,pCASL |  | GE |  | (0021, 104F) | Number of slices | == | 5
T1map,T1map flipped,T2_MAPPING,T2STAR,BASE,FAIR,pCASL,MTR,mDIXON |  |  |  | (0018, 1312) | Phase encoding direction | == | ROW
T1map,T2_MAPPING,DWI,ASL,BASE,FAIR,PCASL,mDIXON |  |  |  | (0028, 0030) | Pixel spacing | == | [3, 3]
MOLLI,T2STAR,MTR,T1W,T2W |  |  |  | (0028, 0030) | Pixel spacing | == | [1.5, 1.5]
MOLLI, T2STAR,MTR,T2W |  |  |  | (0018, 1310) | Acquisition Matrix | == | [0, 256, 256, 0] |  |  | It was repeated for almost all sequences from first row...
T1map,T1map flipped,T2STAR,BASE,FAIR,pCASL,MTR,mDIXON |  | Philips |  | (2005, 140f)/(0018, 9069) | Parallel acquisition | == | 2 |  |  | NESTED in 2005,140F
T1map,T1map flipped,DWI,DWI flipped,BASE,FAIR,pCASL |  | Philips,Siemens |  | (2005, 140f)/(0018, 9081) | Partial Fourier | == | YES |  |  | NESTED in 2005,140F
mDIXON,T2STAR,PC_BH_RIGHT,PC_BH_LEFT |  | Philips,Siemens |  | (2005, 140f)/(0018, 9081) | Partial Fourier | == | NO
T1map,T1map flipped,T2_MAPPING,T2STAR,DWI,BASE,FAIR,pCASL,MTR,mDIXON |  | GE |  | (0018, 0083) | Number of averages (1/partial fourier factor) | == | 1
T1map,T1map flipped,T2_MAPPING,BASE,FAIR,pCASL,DWI,DWI flipped,B0 |  | GE |  | (0028,0010) | Rows | == | 128
MOLLI, T2STAR,MTR,T2W,mDixon |  | GE |  | (0028,0010) | Rows | == | 256
T1map,T1map flipped,T2_MAPPING,BASE,FAIR,pCASL,DWI,DWI flipped,B0 |  | GE |  | (0028,0010) | Columns | == | 128
MOLLI, T2STAR,MTR,T2W,mDixon |  | GE |  | (0028,0010) | Columns | == | 256
ASL | PCASL |  |  | (0020, 0105) | Time points | == | 30
T2STAR |  | Philips |  | (0018, 0091) | Number of echoes | == | 12
T2STAR |  | GE |  | (0019, 107E) | Number of echoes | == | 12
T2STAR |  |  |  | (0018, 0081) | Echo time | contain | [4.6, 9.2]
T2STAR |  |  |  | (0018, 1314) | Flip angle | == | 18
T2STAR |  |  |  | (0018, 0080) | TR | == | 80
T2STAR |  |  |  | (0018, 0095) | Bandwidth | range | [200, 400] | 299.6
T2_MAPPING |  | Philips |  | (0018, 0050) | Slice thickness | == | 4.5
T2_MAPPING |  | GE |  | (0019, 107E) | Number of echoes | == | 10
T2_MAPPING |  | Philips |  | (0018, 0091) | Number of echoes | == | 10
T2_MAPPING |  |  |  | (0018, 0081) | Echo time | contain | [12.9, 25.8]
T2_MAPPING |  | GE |  | (0043, 10BA) | Echo spacing | range | [12.88, 12.92] | 12.89
T2_MAPPING |  |  |  | (0018, 1314) | Flip angle | == | 90
T2_MAPPING |  | Philips,Siemens |  | (0018, 0080) | TR | range | [3000, 6000]
T2_MAPPING |  |  |  | (0018, 0095) | Bandwidth | range | [200, 400] | 299.6
T2_MAPPING |  | Philips |  | (2001, 105F)/(2005, 107b) | Phase encoding direction | == | RL
T2_MAPPING |  | Philips |  | (2005, 140f)/(0018, 9069) | Parallel acquisition | == | 3
T2_MAPPING |  | GE |  | (0043, 1083) | Parallel acquisition factors | == | [0.344, 1]
T2_MAPPING |  | Philips |  | (2001, 1018) | Number of slices | == | 5
T1W |  |  |  | (0018, 1314) | Flip angle | == | 42
T1W |  |  |  | (0018, 0080) | TR | == | 155
T1W |  |  |  | (0018, 0095) | Bandwidth | range | [600, 900] | 787.5
T1W |  |  |  | (2005, 140f)/(0018, 9081) | Partial Fourier | == | YES
T1W |  | Philips,GE |  | (0018, 0081) | Echo time | == | 2.3
T1W |  | Siemens |  | (0018, 0081) | Echo time | == | 2.46
T1W |  | Philips |  | (2001,1018) | Number of slices | == | 17
T1W |  | GE |  | (0021, 104F) | Number of slices | == | 17
T1W |  | Philips |  | (2005, 140f)/(0018, 9029) | Oversampling | == | 2D |  |  | NESTED
T1W |  | GE |  | (0043, 1083) | Parallel acquisition factors | == | [0.672, 1]
T2W |  | Philips,GE |  | (0018, 1314) | Flip angle | == | 90
T2W |  |  |  | (0018, 0080) | TR | range | [800, 1000] | 877
T2W |  |  |  | (0018, 0095) | Bandwidth | range | [600, 900] | 787.5
T2W |  |  |  | (2005, 140f)/(0018, 9081) | Partial Fourier | == | YES | 61
T2W |  | Philips,Siemens |  | (0018, 0081) | Echo time | == | 60
T2W |  | GE |  | (0018, 0081) | Echo time | range | [55, 65] | 62
T2W |  | Philips |  | (2001,1018) | Number of slices | == | 17
T2W |  | GE |  | (0021, 104F) | Number of slices | == | 17
T2W |  | Philips |  | (2005, 140f)/(0018, 9029) | Oversampling | == | 2D |  |  | NESTED
T2W |  | GE |  | (0043, 1083) | Parallel acquisition factors | == | [0.344, 1]
DWI,DWI flipped |  |  |  | (0018, 1314) | Flip angle | == | 90
DWI,DWI flipped |  | Philips,Siemens |  | (0018, 0080) | TR | range | [3000, 6000] | 3000
DWI,DWI flipped |  |  |  | (0018, 0095) | Bandwidth | range | [1800, 2200] | 1988
DWI,DWI flipped |  |  |  | (0018, 0081) | Echo time | range | [60, 70] | 65
DWI,DWI flipped |  | Philips |  | (2001, 1018) | Number of slices | == | 13
DWI,DWI flipped |  | GE |  | (0021, 104F) | Number of slices | == | 13
B0 |  | Philips |  | (0018, 0091) | Number of echoes | == | 2
B0 |  |  |  | (0018, 0081) | Echo time | contain | [4.0, 6.3]
B0 |  |  |  | (0018, 1314) | Flip angle | == | 22
B0 |  |  |  | (0018, 0080) | TR | or | [130, 170] |  | 130 is correct but don't want to fail existing data
B0 |  |  |  | (0018, 0095) | Bandwidth | range | [600, 900] | 787.5
MOLLI |  |  |  | (0018, 0081) | Echo time | range | [1, 2] | 1.68
MOLLI |  |  |  | (0018, 1314) | Flip angle | == | 20
MOLLI |  |  |  | (0018, 0080) | TR | range | [2, 4] | 3.4
MOLLI |  |  |  | (0018, 0095) | Bandwidth | range | [600, 900] | 787.5
MOLLI |  | GE |  | (0018, 1060) | Trigger time (first delay)
MOLLI |  |  |  | (0018, 1088) | Cardiac Frequency | == | 60
MOLLI |  | Philips |  | (0020, 9251) | RR Interval Time Nominal | == | 1000
MOLLI |  |  |  | (2005, 1572) | Inversion Delay Time | contain | [118, 201]
MOLLI |  |  |  | (2005, 1571) | Number of inversion Delays | == | 8
PC_BH_RIGHT,PC_BH_LEFT |  |  |  | (0018, 0081) | Echo time | range | [2, 4] | 3.3
PC_BH_RIGHT,PC_BH_LEFT |  |  |  | (0018, 1314) | Flip angle | == | 20
PC_BH_RIGHT,PC_BH_LEFT |  |  |  | (0018, 0080) | TR | range | [4, 6] | 5.5
PC_BH_RIGHT,PC_BH_LEFT |  |  |  | (0018, 0095) | Bandwidth | range | [400, 600] | 481.8
PC_BH_RIGHT,PC_BH_LEFT |  |  |  | (2005, 140f)/(0018,9069) | Parallel acquisition | == | 3
PC_BH_RIGHT,PC_BH_LEFT |  | Philips,Siemens |  | (0028, 0030) | Pixel spacing | == | [1.5, 1.5]
PC_BH_RIGHT,PC_BH_LEFT |  | GE |  | (0028, 0030) | Pixel spacing | == | [1.1, 1.1]
PC_BH_RIGHT,PC_BH_LEFT |  | Philips,GE,Siemens |  | (2001,1017) | Number of phases | == | 40
MTR |  |  |  | (2001,1018) | Number of slices | == | 1
MTR |  |  |  | (0018, 0081) | Echo time | == | 4.6
MTR |  |  |  | (0018, 1314) | Flip angle | == | 17
MTR |  |  |  | (0018, 0080) | TR | range | [50, 80] | 63
MTR |  |  |  | (0018, 0095) | Bandwidth | range | [600, 900] | 739.8
MTR |  |  |  | (2005, 140f)/(0018, 9069) | Parallel acquisition | == | 2
MTR |  | GE |  | (0043, 1083) | Parallel acquisition factors | == | [0.5, 1]
MTR |  | GE |  | (0019, 100a) | Number of slices | == | 1
MTR |  |  |  | (0018, 9020) | MagnetizationTransfer | == | OFF_RESONANCE |  | *check both on and off for Siemens
mDIXON |  | Philips |  | (2001,1018) | Number of slices | == | 31
mDIXON |  | Philips |  | (0018, 0091) | Number of echoes | or | [2, 6]
mDIXON |  |  |  | (0018, 1314) | Flip angle | == | 3
mDIXON |  |  |  | (0018, 0080) | TR | range | [7, 8]
mDIXON |  |  |  | (0018, 0095) | Bandwidth | range | [1000, 2100] | 2034
T1map,T1map_RespTrig_flipped, BASE,FAIR,PCASL |  | Philips |  | (2001,1018) | Number of slices | == | 5
T1map,T1map_RespTrig_flipped, BASE,FAIR,PCASL |  | GE |  | (0021, 104F) | Number of slices | == | 5
T1map,T1map_RespTrig_flipped, BASE,FAIR,PCASL |  |  |  | (0018, 1314) | Flip angle | == | 90
T1map,T1map_RespTrig_flipped, BASE,FAIR,PCASL |  | Philips,Siemens |  | (0018, 0080) | TR | range | [3000, 6000] | 3000
T1map,T1map_RespTrig_flipped |  | GE |  | (0018, 0080) | TR | == | 10000 | 10000
T1map,T1map_RespTrig_flipped, BASE,FAIR,PCASL |  |  |  | (0018, 0095) | Bandwidth | range | [1800, 2200] | 2049
T1map,T1map_RespTrig_flipped, BASE,FAIR,PCASL |  |  |  | (0018, 0081) | Echo time | range | [25, 35] | 29
T1map_RespTrig_flipped |  |  |  | (0020, 0105) | Number of averages | == | 1
T1map | resptrig_flipped |  |  | (0020, 0105) | Number of averages | == | 20
BASE |  |  |  | (0020, 0105) | Number of averages | == | 2
SOURCE-PCASL_SE_EPI_750,SOURCE-PCASL_SE_EPI_500,SOURCE-PCASL_SE_EPI_1000, SOURCE-COR_FAIR_SE_EPI_400,SOURCE-COR_FAIR_SE_EPI_750,SOURCE-COR_FAIR_SE_EPI_1000 |  |  |  | (0020, 0105) | Time points | == | 8
SOURCE-COR_FAIR_SE_EPI_1500,SOURCE-PCASL_SE_EPI_1500 |  |  |  | (0020, 0105) | Time points | == | 25
AO | B0MAP |  |  | (0018, 0081) | Echo time | range | [2, 4] | 2.5
AO | B0MAP |  |  | (0018, 1314) | Flip angle | == | 15 |  |  | 0
AO | B0MAP |  |  | (0018, 0080) | TR | range | [2, 4] | 3.8
AO | B0MAP |  |  | (0018, 0095) | Bandwidth | range | [1000, 2000] | 1436
AO | B0MAP |  |  | (2005, 140f)/(0018, 9081) | Partial Fourier | == | NO
AO | B0MAP |  |  | (2005, 140f)/(0018, 9069) | Parallel acquisition | == | 2
TOF |  |  |  | ignore
B_TRANCE |  |  |  | ignore
B1MAP |  |  |  | ignore
LOCALISER |  |  |  | ignore
PCASL_DEMO |  |  |  | ignore
SURVEY |  |  |  | ignore
PCASL | SOURCE |  |  | ignore